## Sheet1
| STN Code | Monitoring Location | Type Water Body | Name WaterBody | State Name | Min Temperature | Max Temperature | Min Dissolved Oxygen (mg/L) | Max Dissolved Oxygen (mg/L) | Min pH | Max pH | Min Conductivity (µmho/cm) | Max Conductivity (µmho/cm) | Min BOD (mg/L) | Max BOD (mg/L) | Min NitrateN (mg/L) | Max NitrateN (mg/L) | Min Fecal Coliform (MPN/100ml) | Max Fecal Coliform (MPN/100ml) | Min Total Coliform (MPN/100ml) | Max Total Coliform (MPN/100ml) | Min Fecal Streptococci (MPN/100ml) | Max Fecal Streptococci (MPN/100ml) | Min Total Dissolved Solids (mg/L) | Max Total Dissolved Solids (mg/L) | Min Fluoride (mg/L) | Max Fluoride (mg/L) | Min Arsenic (mg/L) | Max Arsenic (mg/L)
629 | 2057 | AGRA CANAL, MADANPUR KHADAR, DELHI | CANAL | AGRA | DELHI |  |  | 0.3 | 1.5 | 6.9 | 7.72 |  |  | 32 | 46 |  |  | 110000 | 340000
630 | 1479 | WESTERN YAMUNA CANAL AT HAIDERPUR WATER WORKS, DELHI | CANAL | W. YAMUNA | DELHI |  |  |  |  | 7.1 | 7.8 |  |  |  |  | 0.3 | 0.58 | [6 empty] | 72.5 | 200
631 | 5268 | ABU FAZAL DRAIN | DRAIN | ABU FAZAL DRAIN | DELHI |  |  |  |  | 7.1 | 7.6 |  |  | 40 | 54
632 | 1505 | BARAPULA DRAIN, DELHI | DRAIN | BARAPULA | DELHI |  |  |  |  | 7.2 | 7.9 |  |  | 37 | 76
633 | 1501 | BURARI DRAIN B/C WITH NAZAFGARH DRAIN, DELHI | DRAIN | BURARI DRAIN | DELHI |  |  |  |  | 7.2 | 7.8 |  |  | 39 | 48
634 | 1502 | CIVIL MILL DRAIN, DELHI | DRAIN | CIVIL MILL | DELHI |  |  |  |  | 7 | 7.3 |  |  | 40 | 52
635 | 5267 | DRAIN NO. 14 | DRAIN | DRAIN NO. 14 | DELHI |  |  |  |  | 7.5 | 7.5 |  |  | 21 | 21
636 | 5263 | ISBT + MORI GATE DRAIN | DRAIN | ISBT + MORI GATE DRAIN | DELHI |  |  |  |  | 7.2 | 7.8 |  |  | 36 | 50
637 | 5269 | JAITPUR DRAIN | DRAIN | JAITPUR DRAIN | DELHI |  |  |  |  | 7.1 | 7.9 |  |  | 35 | 54
638 | 5266 | KAILASH NAGAR DRAIN | DRAIN | KAILASH NAGAR DRAIN | DELHI |  |  |  |  | 7 | 7.6 |  |  | 30 | 58
639 | 5261 | KHYBER PASS DRAIN | DRAIN | KHYBER PASS DRAIN | DELHI |  |  |  |  | 7.4 | 7.4 |  |  | 30 | 30
640 | 5259 | MAGZINE ROAD DRAIN | DRAIN | MAGZINE ROAD DRAIN | DELHI |  |  |  |  | 7.3 | 7.3 |  |  | 38 | 38
641 | 1857 | MAHARANI BAGH DRAIN, DELHI | DRAIN | MAHARANI BAGH | DELHI |  |  |  |  | 7 | 7.7 |  |  | 42 | 50
642 | 5262 | METCALF HOUSE DRAIN | DRAIN | METCALF HOUSE DRAIN | DELHI |  |  |  |  | 7.1 | 7.2 |  |  | 20 | 28
643 | 5275 | MOLARBANDH DRAIN | DRAIN | MOLARBANDH DRAIN | DELHI |  |  |  |  | 6.8 | 7.7 |  |  | 27 | 48
644 | 1377 | NAJAFGARH DRAIN AT WAZIRABAD BEFORE CONF. TO RIV.YAMUNA, DELHI | DRAIN | NAJAFGARH DRAIN | DELHI |  |  |  |  | 7.1 | 7.5 |  |  | 42 | 60
645 | 5271 | OLD AGRA CANAL AT OKHLA | DRAIN | OLD AGRA CANAL AT OKHLA | DELHI |  |  |  |  | 7.2 | 7.3 |  |  | 43 | 45
646 | 5273 | OLD AGRA CANAL NEAR KALINDI KUNJ -SARITA VIHAR PULL | DRAIN | OLD AGRA CANAL NEAR KALINDI KUNJ -SARITA VIHAR PULL | DELHI |  |  |  |  | 7 | 7.6 |  |  | 33 | 48
647 | 1503 | POWER HOUSE DRAIN, DELHI | DRAIN | POWER HOUSE | DELHI |  |  |  |  | 6.5 | 7.6 |  |  | 36 | 58
648 | 1858 | SARITA VIHAR, DELHI | DRAIN | SARITA VIHAR DRAIN | DELHI |  |  |  |  | 7.4 | 7.7 |  |  | 26 | 32
649 | 1504 | SEN NURSING HOME DRAIN, DELHI | DRAIN | SEN NURSING HOME DRAIN | DELHI |  |  |  |  | 7.1 | 7.4 |  |  | 40 | 56
650 | 1506 | SHAHDARA DRAIN, DELHI | DRAIN | SHAHDARA | DELHI |  |  |  |  | 7 | 7.9 |  |  | 49 | 60
651 | 5265 | SHASTRI PARK DRAIN | DRAIN | SHASTRI PARK DRAIN | DELHI |  |  |  |  | 6.8 | 7.5 |  |  | 27 | 40
652 | 5276 | SONIA VIHAR DRAIN | DRAIN | SONIA VIHAR DRAIN | DELHI |  |  |  |  | 6.9 | 7.6 |  |  | 36 | 63
653 | 5260 | SWEEPER COLONY DRAIN | DRAIN | SWEEPER COLONY DRAIN | DELHI |  |  |  |  | 7.3 | 7.6 |  |  | 40 | 40
654 | 5264 | TONGA STAND DRAIN | DRAIN | TONGA STAND DRAIN | DELHI |  |  |  |  | 7.2 | 7.2 |  |  | 25 | 25
655 | 5270 | TUGHLAKABAD DRAIN | DRAIN | TUGHLAKABAD DRAIN | DELHI |  |  |  |  | 7 | 7.8 |  |  | 32 | 64
656 | 3477 | WELL AT ALIPUR, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.8 |  |  |  |  | 0.3 | 1.01 | [6 empty] | 812 | 844
657 | 3479 | WELL AT AURBINDO MARG, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.4 | 7.6 |  |  |  |  | 0.3 | 0.51 | [6 empty] | 566 | 597
658 | 3480 | WELL AT BAWANA, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.1 | 7.4 |  |  |  |  | 0.3 | 0.48 | [6 empty] | 214 | 239
659 | 3483 | WELL AT BURARI, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.6 |  |  |  |  | 0.3 | 0.3 | [6 empty] | 700 | 716
660 | 3485 | WELL AT DEFENCE COLONY, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.4 | 7.8 |  |  |  |  | 0.38 | 0.4 | [6 empty] | 305 | 317
661 | 3488 | WELL AT DILSHAD GARDEN, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.4 |  |  |  |  | 0.3 | 0.66 | [6 empty] | 530 | 560
662 | 3489 | WELL AT DWARKA, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.3 | 7.4 |  |  |  |  | 0.3 | 0.67 | [6 empty] | 547 | 558
663 | 3490 | WELL AT FATEH PUR BERI, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.5 | 7.7 |  |  |  |  | 0.3 | 0.67 | [6 empty] | 592 | 610
664 | 3492 | WELL AT GAJIPUR, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 6.9 | 6.9 |  |  |  |  | 0.3 | 0.3 | [6 empty] | 660 | 673
665 | 3493 | WELL AT GANDHI NAGAR, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.4 | 7.4 |  |  |  |  | 0.3 | 0.4 | [6 empty] | 509 | 522
666 | 3494 | WELL AT HAIDERPUR, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.3 | 7.5 |  |  |  |  | 0.3 | 0.41 | [6 empty] | 728 | 739
667 | 3496 | WELL AT ISBT, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.4 |  |  |  |  | 0.3 | 0.64 | [6 empty] | 780 | 810
668 | 3498 | WELL AT KALKA JI, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.6 | 7.7 |  |  |  |  | 0.41 | 1.03 | [6 empty] | 420 | 450
669 | 3500 | WELL AT KAMLA NAGAR, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.7 |  |  |  |  | 0.31 | 0.71 | [6 empty] | 501 | 526
670 | 3503 | WELL AT KAROL BAGH, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.4 | 7.7 |  |  |  |  | 0.3 | 0.47 | [6 empty] | 309 | 339
671 | 3514 | WELL AT MATIALA, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.3 |  |  |  |  | 0.31 | 0.49 | [6 empty] | 796 | 808
672 | 3515 | WELL AT MAYA PURI, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.4 | 7.4 |  |  |  |  | 0.3 | 0.48 | [6 empty] | 519 | 528
673 | 3516 | WELL AT MAYUR VIHAR, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.5 | 7.5 |  |  |  |  | 0.31 | 0.86 | [6 empty] | 412 | 444
674 | 3517 | WELL AT NAJAFGARH, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 6.9 | 7.1 |  |  |  |  | 0.47 | 0.49 | [6 empty] | 710 | 740
675 | 3518 | WELL AT NARAINA INDL AREA, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.3 | 7.5 |  |  |  |  | 0.46 | 0.64 | [6 empty] | 841 | 853
676 | 3520 | WELL AT OKHLA, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.7 | 7.8 |  |  |  |  | 0.31 | 0.86 | [6 empty] | 819 | 840
677 | 3524 | WELL AT PASCHIM VIHAR, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.3 |  |  |  |  | 0.3 | 0.3 | [6 empty] | 1004 | 1187
678 | 3525 | WELL AT PATEL NAGAR, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 6.8 | 7.6 |  |  |  |  | 0.3 | 0.31 | [6 empty] | 398 | 415
679 | 3526 | WELL AT PATPAR GANJ, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.2 |  |  |  |  | 0.3 | 0.3 | [6 empty] | 972 | 1062
680 | 3527 | WELL AT PATPARGANJ INDL AREA, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.5 | 7.5 |  |  |  |  | 0.3 | 1.01 | [6 empty] | 889 | 987
681 | 3528 | WELL AT PEERAGARHI, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.3 | 7.5 |  |  |  |  | 0.31 | 0.47 | [6 empty] | 2100 | 2889
682 | 3529 | WELL AT PILANJI, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.7 |  |  |  |  | 0.41 | 0.49 | [6 empty] | 322 | 340
683 | 3530 | WELL AT PRIYA ENCLAVE, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.3 | 7.3 |  |  |  |  | 0.3 | 0.41 | [6 empty] | 436 | 463
684 | 3531 | WELL AT QUTAB GARH, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.1 | 7.1 |  |  |  |  | 0.3 | 0.47 | [6 empty] | 1196 | 2461
685 | 3532 | WELL AT RAJENDER NAGAR, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.1 | 7.7 |  |  |  |  | 0.47 | 0.56 | [6 empty] | 412 | 444
686 | 3533 | WELL AT RAJPURA ROAD, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.3 |  |  |  |  | 0.3 | 0.56 | [6 empty] | 310 | 336
687 | 3534 | WELL NEAR GURUDWARA SHRI RAKABGANJ SAHIB, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.6 | 7.8 |  |  |  |  | 0.3 | 0.31 | [6 empty] | 260 | 288
688 | 3535 | WELL AT ROHINI, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.1 | 7.3 |  |  |  |  | 0.48 | 1.03 | [6 empty] | 224 | 263
689 | 3536 | WELL AT SAKET, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.3 | 7.3 |  |  |  |  | 0.31 | 0.42 | [6 empty] | 477 | 489
690 | 3537 | WELL AT SHAHDARA, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 6.5 | 6.8 |  |  |  |  | 0.39 | 0.42 | [6 empty] | 418 | 427
691 | 3538 | WELL AT SINGHU BORDER, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.7 |  |  |  |  | 0.3 | 0.67 | [6 empty] | 998 | 1084
692 | 3539 | WELL AT SINGOLA, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.3 | 7.4 |  |  |  |  | 0.3 | 0.49 | [6 empty] | 1124 | 1625
693 | 3540 | WELL AT SULTANPURI, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.3 | 7.4 |  |  |  |  | 0.3 | 0.38 | [6 empty] | 652 | 669
694 | 3541 | WELL AT TIKRI KALAN , DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.2 | 7.5 |  |  |  |  | 0.3 | 0.71 | [6 empty] | 707 | 728
695 | 3542 | WELL AT TILAK NAGAR, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.5 | 7.7 |  |  |  |  | 0.3 | 0.3 | [6 empty] | 355 | 383
696 | 3543 | WELL AT TRILOKPURI, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.1 | 7.1 |  |  |  |  | 0.49 | 0.51 | [6 empty] | 512 | 527
697 | 3544 | WELL AT UJWAH, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.3 | 7.7 |  |  |  |  | 0.3 | 0.3 | [6 empty] | 308 | 359
698 | 3545 | WELL AT VASANT KUNJ, DELHI | GROUND WATER | WELL | DELHI |  |  |  |  | 7.4 | 7.4 |  |  |  |  | 0.3 | 0.39 | [6 empty] | 653 | 688
699 | 3546 | WELL AT VASANT VIHAR | GROUND WATER | WELL | DELHI |  |  |  |  | 6.9 | 7.6 |  |  |  |  | 0.3 | 0.3 | [6 empty] | 358 | 379
700 | 3031 | BHALSWA LAKE, DELHI | LAKE | BHALSWA | DELHI |  |  | 0.3 | 0.3 | 7.4 | 8.6 |  |  | 43 | 64 | 0.39 | 0.82 | 23000 | 320000 |  |  |  |  | 318 | 412
701 | 3476 | LAKE NEAR IIT FLYOVER, DELHI | LAKE | HAUZKHAS (IIT DELHI ) | DELHI |  |  | 0.3 | 0.3 | 7.2 | 9.1 |  |  | 36 | 78 | 0.3 | 0.94 | 28000 | 440000 |  |  |  |  | 250 | 363
702 | 3030 | SANJAY LAKE, DELHI | LAKE | SANJAY | DELHI
703 | 1120 | RIVER YAMUNA AT PALLA, DELHI | RIVER | YAMUNA | DELHI |  |  | 6.3 | 11.3 | 7.14 | 7.45 |  |  | 1 | 3 |  |  | 180 | 560
704 | 1121 | RIVER YAMUNA AT NIZAMUDDIN, DELHI | RIVER | YAMUNA | DELHI |  |  | 0.3 | 2.5 | 7.11 | 7.48 |  |  | 26 | 48 |  |  | 9300 | 31000
705 | 1375 | RIVER YAMUNA AT OKHLA BRIDGE (INLET OF AGRA CANAL), DELHI | RIVER | YAMUNA | DELHI |  |  | 0.3 | 1.8 | 7.05 | 8.02 |  |  | 30 | 50 |  |  | 120000 | 380000
706 | 1812 | RIVER YAMUNA AT OKHLA AFTER MEETING OF SHAHDARA DRAIN, DELHI | RIVER | YAMUNA | DELHI |  |  | 0.3 | 1.1 | 6.82 | 7.72 |  |  | 35 | 56 |  |  | 170000 | 470000
707 | 5098 | RIVER YAMUNA AT WAZIRABAD | RIVER | YAMUNA | DELHI |  |  | 4 | 8.2 | 7.21 | 7.49 |  |  | 4 | 9.8 |  |  | 200 | 5500
708 | 5099 | RIVER YAMUNA AT ISBT BRIDGE | RIVER | YAMUNA | DELHI |  |  | 0.3 | 3 | 7.11 | 7.48 |  |  | 22 | 46 |  |  | 5500 | 100000 | 17000 | 17000
709 | 5100 | RIVER YAMUNA AT ITO BRIDGE | RIVER | YAMUNA | DELHI |  |  | 0.3 | 4.1 | 7.18 | 7.46 |  |  | 18 | 38 |  |  | 6100 | 81000
710 | 10006 | RIVER YAMUNA AT PALLA | RIVER | YAMUNA | DELHI | 16 | 16 | 11.2 | 11.2 | 7.5 | 7.5 | 1172 | 1172 | 13 | 13 | 1.8 | 1.8 | 1400 | 1400 | 2200 | 2200 | 33 | 33 | 732 | 732 | 0.3 | 0.3 | 0.00049 | 0.00049
711 | 30026 | RIVER YAMUNA AT PALLA (DELHI) | RIVER | YAMUNA | DELHI |  |  | 6.2 | 9.2 | 7.4 | 8.2 | 346 | 1265 | 1 | 16 | 0.3 | 2.1 | 200 | 2600000 | 54000 | 7000000 | 230 | 17000 | 228 | 810 | 0.2 | 0.5 | 0.00049 | 0.01
712 | 3041 | WATER WORKS- WAZIRABAD, DELHI | WATER TREATMENT PLANT (RAW WATER) | WATER TREATMENT PLANT (RAW WATER) | DELHI |  |  | 7.1 | 7.1 | 6.9 | 7.5 |  |  | 6.5 | 6.5 | 0.3 | 0.72 | 5500 | 5500 |  |  |  |  | 133 | 172
713 | 3042 | WATER WORKS- SONIA VIHAR, DELHI | WATER TREATMENT PLANT (RAW WATER) | WATER TREATMENT PLANT (RAW WATER) | DELHI |  |  |  |  | 7.1 | 7.5 |  |  |  |  | 0.3 | 0.3 | [6 empty] | 90 | 110
714 | 3043 | WATER WORKS- CHANDRAVAL, DELHI | WATER TREATMENT PLANT (RAW WATER) | WATER TREATMENT PLANT (RAW WATER) | DELHI |  |  |  |  | 6.9 | 7.5 |  |  |  |  | 0.3 | 0.72 | [6 empty] | 133 | 172
715 | 3044 | WATER WORKS- NANGLOI, DELHI | WATER TREATMENT PLANT (RAW WATER) | WATER TREATMENT PLANT (RAW WATER) | DELHI |  |  |  |  | 7.1 | 7.6 |  |  |  |  | 0.3 | 0.43 | [6 empty] | 107 | 148
716 | 3045 | WATER WORKS- HAIDERPUR, DELHI | WATER TREATMENT PLANT (RAW WATER) | WATER TREATMENT PLANT (RAW WATER) | DELHI |  |  |  |  | 7.1 | 7.8 |  |  |  |  | 0.3 | 0.58 | [6 empty] | 104 | 138
717 | 3046 | WATER WORKS- DWARKA, DELHI | WATER TREATMENT PLANT (RAW WATER) | WATER TREATMENT PLANT (RAW WATER) | DELHI |  |  |  |  | 7.1 | 7.7 |  |  |  |  | 0.3 | 0.61 | [6 empty] | 121 | 157