## Sheet1
| STN Code | Monitoring Location | Type Water Body | Name WaterBody | State Name | Min Temperature | Max Temperature | Min Dissolved Oxygen (mg/L) | Max Dissolved Oxygen (mg/L) | Min pH | Max pH | Min Conductivity (µmho/cm) | Max Conductivity (µmho/cm) | Min BOD (mg/L) | Max BOD (mg/L) | Min NitrateN (mg/L) | Max NitrateN (mg/L) | Min Fecal Coliform (MPN/100ml) | Max Fecal Coliform (MPN/100ml) | Min Total Coliform (MPN/100ml) | Max Total Coliform (MPN/100ml) | Min Fecal Streptococci (MPN/100ml) | Max Fecal Streptococci (MPN/100ml) | Min Total Dissolved Solids (mg/L) | Max Total Dissolved Solids (mg/L) | Min Fluoride (mg/L) | Max Fluoride (mg/L) | Min Arsenic (mg/L) | Max Arsenic (mg/L)
4168 | 1736 | GROUND WATER QUALITY STATION SARDARNAGAR, GORAKHPUR,U.P | GROUND WATER | WELL | UTTAR PRADESH | 20 | 22 |  |  | 6.8 | 6.9 | 676 | 680 | 5 | 5.2 | [8 empty] | 368 | 370
4169 | 1737 | GROUND WATER QUALITY STATION CAPTANGANJ, KHUSHINAGAR,U.P | GROUND WATER | WELL | UTTAR PRADESH | 20 | 20 |  |  | 6.76 | 6.88 | 662 | 670 | 5.2 | 5.4 | [8 empty] | 410 | 412
4170 | 1738 | SITE 1, INDUSTRIAL AREA NEAR ELECTRIC CONVERTOR REPAIRING WORKSHOP,THANA-DAHI UNNAO | GROUND WATER | WELL | UTTAR PRADESH |  |  |  |  | 7.71 | 7.76 | 750 | 783 | 1 | 1 | 0.3 | 0.3 | 1.8 | 1.8 | 1.8 | 2 |  |  | 468 | 512 | 0.2 | 0.2 | 0.00049 | 0.00049
4171 | 1739 | SITE 2, INDUSTRIAL AREA NEAR M/S JAIJAGDAMBA METALOYS UNNAO, U.P | GROUND WATER | WELL | UTTAR PRADESH |  |  |  |  | 7.6 | 7.68 | 713 | 747 | 1 | 1 | 0.3 | 0.3 | 1300 | 14000 | 2400 | 160000 |  |  | 480 | 484 | 0.2 | 0.54 | 0.00049 | 0.00049
4172 | 1740 | AT ROADWAYS BUS STATION, UNNAO, U.P | GROUND WATER | WELL | UTTAR PRADESH |  |  |  |  | 7.46 | 7.48 | 666 | 690 | 1 | 1 | 0.3 | 0.3 | 1.8 | 1.8 | 1.8 | 1.8 |  |  | 418 | 420 | 0.31 | 1.4 | 0.00049 | 0.00049
4173 | 1741 | MAGAWARA INDUSTRIAL AREA NEAR ORIENTAL PALACE UNNAO, U.P | GROUND WATER | WELL | UTTAR PRADESH |  |  |  |  | 7.42 | 7.81 | 755 | 783 | 1 | 1 | 0.3 | 0.3 | 1.8 | 1.8 | 1.8 | 1.8 |  |  | 474 | 476 | 0.2 | 1.04 | 0.00049 | 0.00049
4174 | 1742 | CHINHAT INDUSTRIAL AREA IN LUCKNOW NEAR M/S INDIA PESTICIDES LUCKNOW, U.P | GROUND WATER | WELL | UTTAR PRADESH |  |  |  |  | 7.56 | 7.56 | 554 | 554 | 1 | 1 | 1.2 | 1.2 | 92000 | 92000 | 160000 | 160000 |  |  | 356 | 356 | 0.52 | 0.52 | 0.00049 | 0.00049
4175 | 1743 | AISHBAGH INDUSTRIAL AREA AT LUCKNOW NEAR M/S EVEREADY INDUSTRIES LTD. LUCKNOW, U.P | GROUND WATER | WELL | UTTAR PRADESH |  |  |  |  | 7.65 | 7.65 | 740 | 740 | 1 | 1 | 1.24 | 1.24 | 2600 | 2600 | 4600 | 4600 |  |  | 476 | 476 | 0.48 | 0.48 | 0.00049 | 0.00049
4176 | 1746 | NAGAR PALIKA TUBE WELL, SULTANPUR, U.P | GROUND WATER | WELL | UTTAR PRADESH | 16 | 18 |  |  | 7.78 | 7.89 | 768 | 811 |  |  |  |  | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 222 | 408 | 0.6 | 0.62
4177 | 1747 | INDIA MARKA HAND PUMP IN SAROWNI BLOCK AT RAIBAREILLY, U.P | GROUND WATER | WELL | UTTAR PRADESH | 19 | 20 |  |  | 8.01 | 8.18 | 811 | 952 |  |  |  |  | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 488 | 502 | 0.9 | 0.92
4178 | 1749 | TUBE WELL AT MEERUT CITY, U.P | GROUND WATER | WELL | UTTAR PRADESH | 14 | 15 |  |  | 7.39 | 7.43 | 580 | 620 |  |  | 1.2 | 1.4 | [6 empty] | 350 | 360 | 0.2 | 0.3
4179 | 1750 | TUBE WELL AT BAGPAT CITY, U.P | GROUND WATER | WELL | UTTAR PRADESH | 15 | 16 |  |  | 7.26 | 7.34 | 530 | 580 |  |  | 1 | 1.2 | [6 empty] | 310 | 380 | 0.2 | 0.3
4180 | 1751 | TUBE WELL IN INDUSTRIAL AREA AT GAJRAULA, AMROHA, U.P | GROUND WATER | WELL | UTTAR PRADESH |  |  |  |  | 7.69 | 7.85 | 532 | 582 | 1 | 1 |  |  | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 348 | 386 | 0.2 | 0.2 | 0.00049 | 0.00049
4181 | 1752 | SAHIBABAD INDUSTRIAL AREA, GHAZIABAD, U.P | GROUND WATER | WELL | UTTAR PRADESH | 15 | 20 |  |  | 7.5 | 7.65 | 2250 | 2280 | 1.1 | 1.9 | 0.3 | 0.5 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1266 | 1368 | 0.2 | 0.2
4182 | 1753 | MEERUT ROAD INDUSTRIAL AREA GHAZIABAD, U.P | GROUND WATER | WELL | UTTAR PRADESH | 15 | 20 |  |  | 7.4 | 7.68 | 1550 | 1554 | 1 | 1 | 0.3 | 0.32 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 930 | 932 | 0.2 | 0.2
4183 | 1754 | HAPUR ROAD INDUSTRIAL AREA GHAZIABAD, U.P | GROUND WATER | WELL | UTTAR PRADESH | 18 | 20 |  |  | 7.4 | 7.65 | 1230 | 1234 | 1 | 1 | 0.32 | 0.34 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 740 | 920 | 0.2 | 0.2
4184 | 1755 | PILKHUA INDUSTRIAL AREA GHAZIABAD, U.P | GROUND WATER | WELL | UTTAR PRADESH | 18 | 21 |  |  | 7.4 | 7.4 | 1190 | 1197 | 1 | 1 | 0.3 | 0.3 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 718 | 890 | 0.2 | 0.2
4185 | 1756 | GOPIGANJ INDUSTRIAL AREA BHADOHI, VARANASI, U.P | GROUND WATER | WELL | UTTAR PRADESH | 23 | 27.5 |  |  | 7.27 | 7.35 | 843 | 860 | [10 empty] | 422 | 456 |  |  | 0.00049 | 0.00049
4186 | 1758 | GROUND AROUND STP DINAPUR, VARANASI, U.P | GROUND WATER | WELL | UTTAR PRADESH | 26.5 | 27 |  |  | 7.3 | 7.35 | 570 | 587 | [10 empty] | 293 | 316 |  |  | 0.00049 | 0.00049
4187 | 1759 | IFFCO, PHOOLPUR, PRAYAGRAJ ,U.P | GROUND WATER | WELL | UTTAR PRADESH | 25.3 | 25.6 |  |  | 7.03 | 7.05 | 1186 | 1228 | 1 | 1 | 1.68 | 2.06 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 253 | 534 | 0.36 | 0.45 | 0.00049 | 0.00049
4188 | 2467 | CHANDPUR INDUSTRIAL AREA, LAHARTARA, VARANASI | GROUND WATER | WELL | UTTAR PRADESH | 26 | 26.5 |  |  | 7.12 | 7.25 | 592 | 625 | [10 empty] | 305 | 312 |  |  | 0.00049 | 0.00049
4189 | 2468 | BHADOHI INDUSTRIAL AREA, DEVELOPMENT AUTHORITY, SANT RAVIDAS NAGAR | GROUND WATER | WELL | UTTAR PRADESH | 26.5 | 27 |  |  | 7.27 | 7.32 | 855 | 872 | [10 empty] | 427 | 488 |  |  | 0.00049 | 0.00049
4190 | 2469 | AT INDUSTRIAL AREA. NAINI, ALLAHABAD | GROUND WATER | WELL | UTTAR PRADESH | 25.3 | 25.5 |  |  | 6.87 | 6.98 | 1153 | 1245 | 1 | 1 | 1.2 | 1.28 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 275 | 293 | 0.38 | 0.41 | 0.00049 | 0.00049
4191 | 2470 | AT INDUSTRIAL AREA, FATEHPUR | GROUND WATER | WELL | UTTAR PRADESH | 25.2 | 25.5 |  |  | 6.85 | 6.96 | 1638 | 1767 | 1 | 1 | 1.07 | 1.16 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 248 | 412 | 0.34 | 0.42 | 0.00049 | 0.00049
4192 | 2471 | GORAKHPUR INDUSTRIAL DEVELOPMENT AUTHORITY AREA (GIDA), GORAKHPUR | GROUND WATER | WELL | UTTAR PRADESH | 20 | 22 |  |  | 6.82 | 6.88 | 582 | 592 | 4.2 | 4.6 | [8 empty] | 276 | 282
4193 | 2472 | VILLAGE DAURALA, MEERUT | GROUND WATER | WELL | UTTAR PRADESH | 14 | 15 |  |  | 7.32 | 7.44 | 510 | 560 |  |  | 1.6 | 1.8 | [6 empty] | 320 | 360 | 0.4 | 0.5
4194 | 2473 | KHEKRA, BAGHPAT | GROUND WATER | WELL | UTTAR PRADESH | 15 | 16 |  |  | 7.34 | 7.41 | 600 | 630 |  |  | 1.8 | 2 | [6 empty] | 360 | 380 | 0.2 | 0.2
4195 | 2474 | UNCHAHAAR (NEAR THERMAL POWER PLANT) | GROUND WATER | WELL | UTTAR PRADESH | 18.3 | 19 |  |  | 7.78 | 8.01 | 718 | 981 |  |  |  |  | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 448 | 532 | 0.64 | 0.72
4196 | 2475 | INDUSTRIAL AREA, SULTANPUR ROAD | GROUND WATER | WELL | UTTAR PRADESH | 18 | 20 |  |  | 7.91 | 8.11 | 916 | 1018 |  |  |  |  | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 222 | 588 | 0.76 | 0.82
4197 | 2477 | GAUTAM BUDHA JUNIOR HIGH SCHOOL RAJENDRA NAGAR, ORAI | GROUND WATER | WELL | UTTAR PRADESH | 14 | 17 |  |  | 7.3 | 7.5 | 891 | 938 | [10 empty] | 430 | 553
4198 | 2478 | DEVA ROAD, INDUSTRIAL AREA, CHAINHAT, LKO NEAR UPTRON POLICE CHOWKI, LUCKNOW | GROUND WATER | WELL | UTTAR PRADESH |  |  |  |  | 7.55 | 7.55 | 540 | 540 | 1 | 1 | 1.48 | 1.48 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 348 | 348 | 0.68 | 0.68 | 0.00049 | 0.00049
4199 | 2479 | NEAR M/S KUMAR INTER NATIONAL LAKDI FAZALPUR, DELHI ROAD, MORADABAD | GROUND WATER | WELL | UTTAR PRADESH | 20 | 21 |  |  | 7.1 | 7.18 | 224 | 268 | 1 | 1 | 0.3 | 0.3 | [6 empty] | 142 | 190 | 0.2 | 0.2 | 0.00049 | 0.00049
4200 | 2481 | NEAR PEER BEGRAJ INDSTRIAL AREA, MUZAFFARNAGAR | GROUND WATER | WELL | UTTAR PRADESH | 23.5 | 23.6 |  |  | 7.2 | 7.4 | 484 | 510 | 1 | 1 | [8 empty] | 360 | 370
4201 | 5515 | NAWABGANJ BIRD SANCTUARY | LAKE | NAWABGANJ | UTTAR PRADESH |  |  | 3.8 | 5.3 | 6.98 | 7.37 | 456 | 6204 | 5.8 | 8.2 | 0.3 | 0.88 | 2000 | 78000 | 13000 | 930000 |  |  | 282 | 384 | 0.2 | 0.32 | 0.00049 | 0.00049
4202 | 1364 | RAMGARH LAKE, GORAKHPUR U.P. | LAKE | RAMGARH | UTTAR PRADESH | 16 | 24 | 7.8 | 8.4 | 8 | 8.32 | 448 | 472 | 4 | 20 |  |  | 20000 | 30000 | 32000 | 48000 |  |  | 212 | 230
4203 | 2499 | SAMASPUR JHEEL, RAEBARELI | LAKE | SAMASPUR | UTTAR PRADESH | 22 | 28 | 5.4 | 6.8 | 7.81 | 8.11 | 311 | 431 | 4 | 6 | 0.84 | 0.9 | 2700 | 3400 | 4900 | 7900 |  |  | 228 | 268 | 0.76 | 0.82
4204 | 5516 | SANDI BIRD SANCTUARY | LAKE | SANDI JHEEL | UTTAR PRADESH | 19 | 29 | 4 | 5.6 | 7.46 | 7.95 | 523 | 534 | 4.8 | 6 | 0.3 | 1.2 | 4500 | 92000 | 9300 | 160000 |  |  | 322 | 324 | 0.2 | 0.2 | 0.00049 | 0.00049
4205 | 5514 | SOOR SAROVAR BIRD SANCTUARY | LAKE | SOOR SAROVAR | UTTAR PRADESH | 24 | 28 | 4.2 | 8.6 | 7.4 | 8.2 | 1186 | 2516 | 7.6 | 16.8 |  |  | 6800 | 17000 | 9300 | 33000 |  |  | 590 | 1320
4206 | 2501 | LAXMI POND, JHANSI | POND | LAXMI | UTTAR PRADESH | 16 | 23 | 4.9 | 7.1 | 6.8 | 7.7 | 543 | 640 | 3.2 | 12 | [8 empty] | 324 | 517
4207 | 2500 | MAAHIL POND, URAI TEHSIL, JALAUN | POND | MAAHIL | UTTAR PRADESH | 15 | 24 | 4.4 | 6.7 | 7.1 | 8.1 | 839 | 928 | 4.9 | 12 | [8 empty] | 509 | 662
4208 | 1735 | GOVIND SAGAR DAM, U.P | RESERVOIR | GOVIND SAGAR | UTTAR PRADESH | 16 | 23 | 7 | 7.9 | 7.1 | 7.5 | 256 | 318 | 2.2 | 2.4 | [8 empty] | 145 | 205
4209 | 30001 | RIVER BAHELA AT BADLI VILLAGE LOHIYA BRIDGE , TANDA (U.P.) | RIVER | BAHELA | UTTAR PRADESH | 20.3 | 31.2 | 0.3 | 8.9 | 6.2 | 7.82 | 217 | 715 | 1.4 | 145 | 0.3 | 0.3 | 200 | 1300000 | 780 | 9200000 |  |  | 140 | 506 | 0.2 | 0.2
4210 | 2502 | SHUKRA TAL GHAT (CONFLUENCE OF BANGANGA AND SALONI RIVER), MUZAFFARNAGAR, | RIVER | BANGANGA | UTTAR PRADESH | 18 | 26.7 | 5.5 | 7.3 | 7.5 | 7.8 | 140 | 170 | 1.8 | 2.8 |  |  | 700 | 1100 | 1000 | 1700 |  |  | 120 | 158
4211 | 30038 | RIVER BANGANGA AT D/S SHUKRATAL (BEFORE CONFLUENCE OF LAKSAR DRAIN ) | RIVER | BANGANGA | UTTAR PRADESH | 20.9 | 30.8 | 5 | 7.8 | 7.3 | 7.6 | 359 | 518 | 1 | 2.6 | 0.3 | 1.63 | 1.8 | 330000 | 1.8 | 790000 | 1.8 | 1.8 | 207 | 335 | 0.2 | 0.2
4212 | 1356 | RIVER BETWA BEFORE CONF. YAMUNA AT HAMIRPUR, U.P. | RIVER | BETWA | UTTAR PRADESH | 17 | 24 | 5.4 | 7.6 | 7.2 | 7.9 | 344 | 3400 | 2.2 | 3.1 |  |  | 7800 | 9300 | 13000 | 17000 |  |  | 192 | 426
4213 | 30079 | RIVER BETWA DOWNSTREAM AT SUKMA-DUKMA DAM, DIST-JHANSI (U.P.) | RIVER | BETWA | UTTAR PRADESH | 21.9 | 30 | 7.4 | 8.5 | 7.69 | 8.88 | 267 | 559 | 1 | 1.5 | 0.3 | 0.3 | 1.8 | 4500 | 1.8 | 23000 | 1.8 | 1.8 | 165 | 236 | 0.2 | 0.2
4214 | 30086 | RIVER CHAMBAL AT GWALIOR ROAD BRIDGE, UDI, ETAWAH DIST. | RIVER | CHAMBAL | UTTAR PRADESH | 18 | 31 | 7.4 | 9.3 | 7.13 | 8.01 | 343 | 663 | 1.7 | 6.5 | 0.3 | 0.68 | 1.8 | 33000 | 1.8 | 49000 | 1.8 | 1.8 | 220 | 397 | 0.2 | 0.2
4215 | 1046 | RIVER GANGA AT PRAYAGRAJ (RASOOLABAD), U.P. | RIVER | GANGA | UTTAR PRADESH | 20.4 | 30.8 | 7.2 | 9.2 | 7.78 | 8.37 | 220 | 273 | 2.7 | 2.9 | 0.6 | 0.76 | 450 | 920 | 1700 | 2400 |  |  | 201 | 247 | 0.21 | 0.29 | 0.00049 | 0.00049
4216 | 1049 | RIVER GANGA AT PRAYAGRAJ D/S (SANGAM), U.P. | RIVER | GANGA | UTTAR PRADESH | 20.4 | 30.8 | 7.1 | 9.1 | 7.76 | 8.38 | 258 | 292 | 2.6 | 3 | 0.53 | 0.73 | 680 | 930 | 2200 | 2700 |  |  | 228 | 258 | 0.21 | 0.29 | 0.00049 | 0.00049
4217 | 1062 | RIVER GANGA AT D/S GARHMUKTESHWAR, U.P | RIVER | GANGA | UTTAR PRADESH | 12 | 30 | 8.2 | 11.7 | 7.3 | 7.6 | 174 | 255 | 1 | 2.9 | 0.3 | 0.5 | 240 | 1300 | 540 | 2200 | 130 | 540 | 99 | 166 | 0.25 | 0.66
4218 | 1063 | RIVER GANGA AT KANNAUJ U/S (NEAR MEHNDIGHAT BRIDGE), U.P | RIVER | GANGA | UTTAR PRADESH | 14 | 30 | 6.1 | 10.9 | 8.08 | 8.59 | 199 | 366 | 3 | 3.9 |  |  | 900 | 2700 | 1600 | 4300 | 1.8 | 1.8 | 120 | 244
4219 | 1066 | RIVER GANGA AT DURJANPUR, KANNAUJ D/S, U.P | RIVER | GANGA | UTTAR PRADESH | 14 | 31 | 6.3 | 11.6 | 7.98 | 8.48 | 218 | 388 | 3.2 | 6.3 |  |  | 252 | 3400 | 2700 | 4900 | 1.8 | 1.8 | 140 | 251
4220 | 1067 | RIVER GANGA AT KANPUR U/S (SHUKLAGANJ U/S), U.P | RIVER | GANGA | UTTAR PRADESH | 14 | 31 | 6.1 | 11.1 | 7.52 | 8.69 | 214 | 443 | 3 | 4.4 |  |  | 2000 | 3100 | 3100 | 5000 | 1.8 | 20 | 138 | 288
4221 | 1068 | RIVER GANGA AT KANPUR D/S (JANA VILLAGE), U.P | RIVER | GANGA | UTTAR PRADESH | 14 | 31 | 5.6 | 10.2 | 7.4 | 8.61 | 269 | 645 | 3.7 | 14.8 |  |  | 4100 | 17000 | 7800 | 20000 | 1.8 | 1.8 | 174 | 423
4222 | 1070 | RIVER GANGA AT VARANASI U/S NEAR VISHWASUNDARI BRIDGE B/C DRAINS( NAGWA NALA, SAMNE GHAT NALA,NAKHHI NALA) | RIVER | GANGA | UTTAR PRADESH | 22.5 | 31 | 7.2 | 9.6 | 7.83 | 8.38 | 320 | 542 | 2.1 | 2.8 | 0.58 | 1.56 | 680 | 1100 | 1100 | 2000 | 310 | 550 | 194 | 328 |  |  | 0.00049 | 0.00049
4223 | 1071 | RIVER GANGA AT VARANASI D/S , A/C RIVER VARUNA , U.P | RIVER | GANGA | UTTAR PRADESH | 22.5 | 31 | 6.7 | 8.5 | 7.57 | 8.06 | 332 | 550 | 3.3 | 4.5 | 0.72 | 2.25 | 7900 | 17000 | 14000 | 23000 | 4900 | 9200 | 204 | 336 |  |  | 0.00049 | 0.00049
4224 | 1073 | RIVER GANGA AT TARIGHAT (GHAZIPUR), U.P | RIVER | GANGA | UTTAR PRADESH | 23 | 31.5 | 6.5 | 8.2 | 7.65 | 7.98 | 336 | 768 | 3.5 | 4.7 | 0.78 | 2.32 | 9400 | 17000 | 15000 | 26000 | 6300 | 13000 | 210 | 340 |  |  | 0.00049 | 0.00049
4225 | 1145 | RIVER GANGA AT NARORA (BULANDSAHAR), U.P. | RIVER | GANGA | UTTAR PRADESH | 17 | 32 | 7.3 | 10.4 | 7.04 | 7.36 | 106 | 177 | 1 | 2.8 |  |  | 170 | 930 | 350 | 1700 |  |  | 71 | 135
4226 | 1146 | RIVER GANGA AT BITHOOR (KANPUR), U.P. | RIVER | GANGA | UTTAR PRADESH | 14 | 31 | 6.2 | 11.2 | 7.83 | 8.51 | 224 | 356 | 3 | 11.6 |  |  | 1700 | 2700 | 3100 | 4300 | 1.8 | 45 | 148 | 248
4227 | 1147 | RIVER GANGA AT DALMAU (RAI BAREILLY), U.P. | RIVER | GANGA | UTTAR PRADESH | 21 | 26 | 3 | 10.5 | 7.66 | 7.95 | 268 | 377 | 2.5 | 3.9 | 0.8 | 0.84 | 1300 | 2400 | 2200 | 3900 | 7.8 | 22 | 218 | 240 | 0.74 | 0.8
4228 | 2485 | RIVER GANGA U/S, VINDHYACHAL, MIRZAPUR | RIVER | GANGA | UTTAR PRADESH | 22.5 | 31 | 7.3 | 9.4 | 7.91 | 8.35 | 324 | 542 | 2.2 | 2.9 | 0.62 | 124 | 700 | 1300 | 1200 | 2000 | 380 | 700 | 196 | 325
4229 | 2486 | RIVER GANGA D/S, MIRZAPUR | RIVER | GANGA | UTTAR PRADESH | 22.5 | 31 | 6.6 | 8.5 | 7.58 | 8.04 | 332 | 552 | 3.3 | 4.5 | 0.73 | 1.96 | 7900 | 14000 | 13000 | 22000 | 3400 | 9400 | 152 | 336
4230 | 2487 | RIVER GANGA AT KADAGHAT, KAUSHAMABI | RIVER | GANGA | UTTAR PRADESH | 20.5 | 30.7 | 6.9 | 9.3 | 7.71 | 8.39 | 246 | 286 | 2.6 | 2.9 | 0.64 | 0.74 | 400 | 680 | 1300 | 2000 |  |  | 200 | 250 | 0.21 | 0.28 | 0.00049 | 0.00049
4231 | 2488 | RIVER GANGA U/S, ANOOPSHAHAR | RIVER | GANGA | UTTAR PRADESH | 16 | 32 | 7.1 | 11 | 7.11 | 7.31 | 94 | 198 | 1 | 2.7 |  |  | 170 | 920 | 350 | 1600 |  |  | 64 | 145
4232 | 2489 | RIVER GANGA D/S, ANOOPSHAHAR | RIVER | GANGA | UTTAR PRADESH | 16 | 31 | 7.2 | 10.6 | 7.11 | 7.4 | 101 | 179 | 1 | 2.6 |  |  | 170 | 1100 | 350 | 1700 |  |  | 73 | 136
4233 | 2490 | RIVER GANGA AT KACHHLA GHAT, ALIGARH | RIVER | GANGA | UTTAR PRADESH | 18 | 38 | 8.4 | 10.9 | 7.4 | 7.7 | 143 | 16350 | 1.1 | 1.6 | 0.3 | 4.2 | 1.8 | 480 | 260 | 630 | 1.8 | 350 | 98 | 145 | 0.2 | 0.48 | 0.00049 | 0.00049
4234 | 2498 | RIVER GANGA AT KALA KANKAR, RAEBARELI | RIVER | GANGA | UTTAR PRADESH | 21 | 26 | 0.3 | 10.6 | 7.79 | 7.98 | 265 | 373 | 2.4 | 3.8 | 0.78 | 0.8 | 1100 | 2300 | 2200 | 3400 | 6.8 | 22 | 216 | 238 | 0.68 | 0.78
4235 | 5708 | River Ganga Tigri Ganga ghat, village-tigari, Amroha | RIVER | Ganga | UTTAR PRADESH |  |  | 8.4 | 8.9 | 7.71 | 7.93 | 241 | 252 | 1.2 | 1.6 |  |  | 460 | 790 | 1300 | 1700 | 1.8 | 1.8 | 119 | 133
4236 | 5709 | River GangaÂ Nanamau Ganga bridge, Lucknow Mohan-Hasanganj- Rasulabad marg, karti Akberpur seng | RIVER | Ganga | UTTAR PRADESH | 18 | 23 | 6.6 | 10.1 | 8.1 | 8.48 | 274 | 376 | 3 | 3.3 |  |  | 2300 | 2700 | 3100 | 4600 |  |  | 162 | 248
4237 | 5710 | RIVER GANGA PURANA RAJAPUR, RAJAPUR, KANPUR | RIVER | GANGA | UTTAR PRADESH | 15 | 23 | 6.1 | 10.4 | 7.75 | 8.4 | 232 | 560 | 3.4 | 3.8 |  |  | 2300 | 4300 | 4100 | 7000 |  |  | 148 | 394
4238 | 5711 | River Ganga A/C Pandu river at madeveshwar baba tample deomai aht. | RIVER | Ganga | UTTAR PRADESH | 26.9 | 29.8 | 7.5 | 8.6 | 7.83 | 8.25 | 253 | 269 | 2.4 | 2.7 | 0.62 | 0.67 | 610 | 680 | 1500 | 2000 |  |  | 221 | 240 | 0.25 | 0.28
4239 | 5713 | River Ganga at Ganga Bridge .NH19, Dheemi | RIVER | Ganga | UTTAR PRADESH | 24 | 25 | 7.8 | 8.6 | 7.79 | 7.89 | 271 | 334 | 3.1 | 3.2 | 0.76 | 0.78 | 1700 | 2200 | 2700 | 3200 | 14 | 20 | 218 | 226 | 0.72 | 0.74
4240 | 5714 | River Ganga B/CÂ tamsa river at prachin shivalaya Dumduma ghat | RIVER | Ganga | UTTAR PRADESH | 25.8 | 29.7 | 7.5 | 8.7 | 7.74 | 8.05 | 260 | 284 | 2.5 | 2.9 | 0.57 | 0.7 | 610 | 780 | 1500 | 2100 |  |  | 238 | 263 | 0.23 | 0.27
4241 | 5715 | River GangaÂ B/C Gomti river at balua ghat bridge, Varanasi | RIVER | Ganga | UTTAR PRADESH | 27 | 29 | 7 | 7.8 | 7.68 | 7.95 | 328 | 540 | 3.2 | 4.2 | 0.68 | 1.86 | 6300 | 11000 | 9400 | 17000 | 4600 | 6300 | 200 | 328
4242 | 5716 | River GangaÂ Zamania Ganga Bridge , Zamaniz, UP | RIVER | Ganga | UTTAR PRADESH | 27 | 29 | 7.4 | 8.4 | 7.34 | 8.15 | 320 | 536 | 2.8 | 3.6 | 0.6 | 1.76 | 4600 | 7000 | 6300 | 11000 | 2700 | 4900 | 196 | 322
4243 | 10149 | RIVER GANGA AT U/S BRIJ GHAT ,GHARMUKTESHWAR | RIVER | GANGA | UTTAR PRADESH | 12 | 30 | 8.5 | 12 | 7 | 7.6 | 170 | 252 | 1 | 2.6 | 0.3 | 0.49 | 170 | 920 | 350 | 1600 | 94 | 280 | 99 | 164 | 0.32 | 0.54
4244 | 10150 | RIVER GANGA AT MADHYA GANGA BARRAGE, BIJNOR | RIVER | GANGA | UTTAR PRADESH |  |  | 8.6 | 9.1 | 7.64 | 8 | 221 | 260 | 1 | 1.6 |  |  | 460 | 790 | 1100 | 1700 | 1.8 | 1.8 | 112 | 124 |  |  | 0.00049 | 0.00049
4245 | 10151 | RIVER GANGA AT GHATIYAGHAT FARRUKABAD | RIVER | GANGA | UTTAR PRADESH | 14 | 31 | 6.5 | 10.9 | 8.01 | 8.46 | 181 | 346 | 2.6 | 3.7 |  |  | 1100 | 2600 | 1600 | 3300 | 1.8 | 1.8 | 104 | 212
4246 | 10152 | RIVER GANGA A/C GOMTI RIVER, BHUSAULA | RIVER | GANGA | UTTAR PRADESH | 23 | 33.5 | 7 | 8.8 | 7.75 | 8.15 | 324 | 546 | 2.8 | 3.8 | 0.65 | 1.98 | 4600 | 11000 | 8400 | 17000 | 4100 | 9800 | 198 | 332 |  |  | 0.00049 | 0.00049
4247 | 10153 | RIVER GANGA AT CHUNAR | RIVER | GANGA | UTTAR PRADESH | 23 | 31.5 | 7 | 9 | 7.74 | 8.17 | 328 | 548 | 2.8 | 3.8 | 0.68 | 1.88 | 5800 | 11000 | 8400 | 17000 | 630 | 6300 | 200 | 330
4248 | 10154 | RIVER GANGA AT BATHING GHAT (BHARAOGHAT) | RIVER | GANGA | UTTAR PRADESH | 14 | 31 | 6.1 | 10.8 | 7.81 | 8.52 | 226 | 441 | 3 | 4.3 |  |  | 2100 | 4900 | 3100 | 7900 | 1.8 | 78 | 124 | 293
4249 | 10155 | RIVER GANGA AT D/S (SHUKLAGANJ) | RIVER | GANGA | UTTAR PRADESH | 14 | 31 | 6 | 10.9 | 7.47 | 8.9 | 232 | 465 | 3.2 | 4.6 |  |  | 2100 | 3400 | 3800 | 6300 | 1.8 | 20 | 142 | 300
4250 | 10156 | RIVER GANGA AT BATHING GHAT (GOLA GHAT) | RIVER | GANGA | UTTAR PRADESH | 14 | 31 | 5.9 | 10.6 | 7.78 | 8.81 | 223 | 431 | 3.4 | 13.2 |  |  | 2200 | 4600 | 3100 | 7000 | 1.8 | 1.8 | 145 | 281
4251 | 10157 | RIVER GANGA AT BATHING GHAT (JAJMAU BRIDGE) | RIVER | GANGA | UTTAR PRADESH | 14 | 30 | 6 | 10.4 | 7.69 | 8.51 | 266 | 630 | 3.4 | 4.9 |  |  | 2100 | 7900 | 3400 | 13000 | 20 | 20 | 154 | 409
4252 | 10158 | RIVER GANGA A/C TAMSA RIVER, SIRSA, SON BARSA | RIVER | GANGA | UTTAR PRADESH | 20.5 | 30.7 | 7.2 | 8.9 | 7.38 | 8.38 | 260 | 297 | 2.6 | 3 | 0.61 | 0.72 | 610 | 920 | 1500 | 2500 |  |  | 206 | 272 | 0.2 | 0.28 | 0.00049 | 0.00049
4253 | 30006 | RIVER GANGA AT BIJNOR (U.P.) | RIVER | GANGA | UTTAR PRADESH | 16 | 16 | 7.2 | 8.5 | 7.6 | 8.1 | 180 | 289 | 1 | 2 | 0.3 | 0.7 | 330 | 93000 | 780 | 1400000 | 13 | 1300 | 112 | 168 | 0.2 | 0.35 | 0.00049 | 0.05
4254 | 30075 | RIVER GANGA AT ROAD BRIDGE TARIGHAT,DIST GHAZIPUR (U.P.) | RIVER | GANGA | UTTAR PRADESH | 21.6 | 27 | 7.6 | 8.2 | 7.11 | 8.81 | 303 | 697 | 1.1 | 3.8 | 0.3 | 0.83 | 1.8 | 4500 | 17000 | 78000 |  |  | 196 | 358 | 0.2 | 1.01
4255 | 1355 | RIVER GHAGHARA AT TURTIPAR,DEORIA D/S, U.P. | RIVER | GHAGHARA | UTTAR PRADESH | 16 | 25 | 7.6 | 8.4 | 7.7 | 7.98 | 330 | 4120 | 2.6 | 4 |  |  | 10000 | 26000 | 22000 | 50000 |  |  | 210 | 242
4256 | 2492 | RIVER GHAGHRA AT BARHALGANJ, GORAKHPUR | RIVER | GHAGHARA | UTTAR PRADESH | 16 | 24 | 7.8 | 8.3 | 7.8 | 8.2 | 370 | 392 | 3.4 | 4.2 |  |  | 8000 | 24000 | 18000 | 38000 |  |  | 216 | 234
4257 | 1072 | RIVER GOMTI AT VARANASI, RAJWARI U.P | RIVER | GOMTI | UTTAR PRADESH | 24 | 29 | 7.2 | 8.6 | 7.92 | 8.38 | 318 | 484 | 3 | 4 | 0.56 | 1.34 | 3100 | 9300 | 7000 | 13000 | 2000 | 4600 | 194 | 296 |  |  | 0.00049 | 0.00049
4258 | 1350 | RIVER GOMTI AT SITAPUR U/S DADNAMAU GHAT, U.P. | RIVER | GOMTI | UTTAR PRADESH |  |  | 6.4 | 12.2 | 7.83 | 8.48 | 238 | 422 | 2 | 4.4 | 0.92 | 1.62 | 450 | 1400 | 1400 | 2800 |  |  | 148 | 262 | 0.2 | 0.31 | 0.0019 | 0.0019
4259 | 1351 | RIVER GOMTI AT LUCKNOW U/S AT WATER INTAKE POINT, U.P. | RIVER | GOMTI | UTTAR PRADESH |  |  | 4.2 | 10.9 | 7.37 | 8.39 | 311 | 512 | 2.9 | 4 | 0.61 | 0.88 | 210 | 4900 | 4700 | 7800 |  |  | 194 | 318 | 0.21 | 0.44 | 0.0034 | 0.0034
4260 | 1352 | RIVER GOMTI AT LUCKNOW D/S PIPRAGHAT , U.P. | RIVER | GOMTI | UTTAR PRADESH |  |  | 0.9 | 2.4 | 7.03 | 7.78 | 404 | 807 | 10.5 | 13.8 | 0.3 | 2.68 | 70000 | 170000 | 110000 | 240000 |  |  | 258 | 498 | 0.2 | 0.28 | 0.00049 | 0.00049
4261 | 1353 | RIVER GOMTI AT JAUNPUR D/S, U.P. | RIVER | GOMTI | UTTAR PRADESH | 24 | 29.5 | 7 | 8 | 7.81 | 8.48 | 322 | 490 | 3.2 | 4.3 | 0.6 | 1.42 | 3300 | 14000 | 8400 | 21000 | 2400 | 8400 | 198 | 305 |  |  | 0.00049 | 0.00049
4262 | 10083 | RIVER GOMTI AT NEEMSAR U/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 6.2 | 12 | 7.8 | 8.45 | 247 | 429 | 2.1 | 2.8 | 0.55 | 0.75 | 680 | 1700 | 1700 | 3400 |  |  | 154 | 266 | 0.2 | 0.2 | 0.003 | 0.003
4263 | 10084 | RIVER GOMTI AT NEEMSAR D/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 5.8 | 11.6 | 7.74 | 8.42 | 262 | 440 | 2.3 | 3.2 | 0.58 | 0.78 | 780 | 2400 | 2100 | 4000 |  |  | 164 | 274 | 0.2 | 0.24 | 0.003 | 0.003
4264 | 10085 | RIVER GOMTI AT BHATPUR U/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 5.6 | 11.4 | 7.71 | 8.41 | 274 | 458 | 2.4 | 3.4 | 1.1 | 1.64 | 780 | 2600 | 2000 | 4500 |  |  | 170 | 280 | 0.2 | 0.22 | 0.0017 | 0.0017
4265 | 10086 | RIVER GOMTI AT BHATPUR D/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 4.7 | 10.8 | 7.56 | 8.42 | 291 | 481 | 2.7 | 3.8 | 1.2 | 1.82 | 1400 | 3300 | 2800 | 5400 |  |  | 182 | 298 | 0.2 | 0.22 | 0.0025 | 0.0025
4266 | 10087 | RIVER GOMTI AT GAUGHAT U/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 4.2 | 11 | 7.38 | 8.38 | 310 | 488 | 2.9 | 4 | 0.62 | 0.89 | 2300 | 4900 | 4700 | 7800 |  |  | 194 | 306 | 0.22 | 0.4 | 0.0027 | 0.0027
4267 | 10088 | RIVER GOMTI AT GAUGHAT D/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 3.9 | 10.5 | 7.34 | 8.35 | 322 | 528 | 3.1 | 4.2 | 0.62 | 1.14 | 2400 | 4900 | 5400 | 7900 |  |  | 202 | 328 | 0.2 | 0.44 | 0.0025 | 0.0025
4268 | 10089 | RIVER GOMTI AT MOHMEAK U/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 1.2 | 5.2 | 7.2 | 7.87 | 348 | 764 | 7 | 10.6 | 0.84 | 1.49 | 33000 | 78000 | 61000 | 120000 |  |  | 220 | 472 | 0.2 | 0.2 | 0.00049 | 0.00049
4269 | 10090 | RIVER GOMTI AT MOHMEAK D/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 0.9 | 4.4 | 7.16 | 7.8 | 364 | 781 | 7.6 | 11.2 | 0.85 | 1.56 | 45000 | 94000 | 68000 | 140000 |  |  | 232 | 480 | 0.2 | 0.24 | 0.0017 | 0.0017
4270 | 10091 | RIVER GOMTI AT PIPRAGHAT U/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 1.1 | 2.8 | 7.05 | 7.81 | 389 | 789 | 9.8 | 13 | 0.3 | 2.46 | 70000 | 130000 | 94000 | 220000 |  |  | 248 | 488 | 0.2 | 0.26 | 0.00049 | 0.00049
4271 | 10092 | RIVER GOMTI AT PIPRAGHAT D/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 0.9 | 2.5 | 7.02 | 7.79 | 403 | 808 | 10.5 | 13.8 | 0.3 | 2.68 | 70000 | 170000 | 110000 | 240000 |  |  | 256 | 498 | 0.22 | 0.43 | 0.0006 | 0.0006
4272 | 10093 | RIVER GOMTI AT GANGAGANJ U/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 2.9 | 5.8 | 7.26 | 7.94 | 348 | 741 | 5.5 | 8 | 1.28 | 1.68 | 13000 | 49000 | 23000 | 94000 |  |  | 218 | 456 | 0.2 | 0.22 | 0.0028 | 0.0028
4273 | 10094 | RIVER GOMTI AT GANGAGANJ D/S | RIVER | GOMTI | UTTAR PRADESH |  |  | 3.2 | 4.7 | 7.31 | 7.93 | 336 | 724 | 5.6 | 7.5 | 1.29 | 1.66 | 11000 | 49000 | 21000 | 79000 |  |  | 212 | 448 | 0.2 | 0.23 | 0.004 | 0.004
4274 | 10095 | RIVER GOMTI AT SULTANPUR U/S | RIVER | GOMTI | UTTAR PRADESH | 23 | 28 | 5.7 | 7 | 7.89 | 8.17 | 345 | 518 | 4 | 4.9 | 0.8 | 0.86 | 2700 | 4900 | 4700 | 12000 |  |  | 234 | 254 | 0.75 | 0.8
4275 | 10096 | RIVER GOMTI AT SULTANPUR D/S | RIVER | GOMTI | UTTAR PRADESH | 23 | 28 | 5.3 | 7.3 | 7.96 | 8.22 | 341 | 530 | 4.2 | 5.8 | 0.82 | 0.88 | 2600 | 7000 | 4900 | 17000 | 1.8 | 1.8 | 238 | 260 | 0.78 | 0.82
4276 | 10097 | RIVER GOMTI AT JAUNPUR U/S | RIVER | GOMTI | UTTAR PRADESH | 24 | 29.5 | 7.4 | 8.6 | 7.98 | 8.42 | 315 | 478 | 2.4 | 3.3 | 0.52 | 1.2 | 700 | 1700 | 1100 | 2400 | 430 | 700 | 192 | 296 |  |  | 0.00049 | 0.00049
4277 | 1357 | RIVER HINDON AT SAHARANPUR D/S, AT MAHESHPUR .DEOBAND U.P. | RIVER | HINDON | UTTAR PRADESH | 18 | 32 |  |  | 6.7 | 7.5 | 410 | 750 | 32 | 48 | [8 empty] | 260 | 408
4278 | 1358 | RIVER HINDON AT GHAZIABAD D/S KULESHRA GB NAGAR, U.P. | RIVER | HINDON | UTTAR PRADESH | 20 | 25 | 0.3 | 8.8 | 6.4 | 8.41 | 304 | 1375 | 3.2 | 48 | 0.75 | 0.96 | 2100 | 340000 | 3800 | 470000 | 1100 | 1100 | 182 | 825 | 1 | 1.32
4279 | 1483 | RIVER HINDON AFTER CONFL. WITH R. KRISHNA & KALI NEAR BINAULI TOWN, PURA MAHADEV, MEERUT, U.P. | RIVER | HINDON | UTTAR PRADESH | 17 | 22 | 0.3 | 0.3 | 7.52 | 7.81 | 750 | 1000 | 44 | 68 | 30 | 38 | 100000 | 170000 | 150000 | 220000 |  |  | 500 | 680 | 0.5 | 0.7
4280 | 2496 | RIVER HINDON AT SARDHANA BUDHANA ROAD, VILLAGE BAPARSI, MEERUT | RIVER | HINDON | UTTAR PRADESH | 15 | 22 | 0.3 | 0.3 | 7.59 | 7.82 | 750 | 990 | 48 | 68 | 32 | 40 | 14000 | 170000 | 17000 | 240000 |  |  | 490 | 750 | 0.5 | 0.8
4281 | 10099 | RIVER HINDON AT MAHESHPUR D/S | RIVER | HINDON | UTTAR PRADESH | 18 | 32 | 1.4 | 1.4 | 7.2 | 7.4 | 380 | 750 | 32 | 44 | [8 empty] | 258 | 390
4282 | 10100 | RIVER HINDON AT BARNAWA U/S | RIVER | HINDON | UTTAR PRADESH | 16 | 22 | 0.3 | 0.3 | 7.5 | 7.76 | 710 | 900 | 42 | 62 | 24 | 34 | 100000 | 140000 | 140000 | 210000 |  |  | 460 | 560 | 0.5 | 0.6
4283 | 10101 | RIVER HINDON AT BARNAWA D/S | RIVER | HINDON | UTTAR PRADESH | 16 | 21 | 0.3 | 0.3 | 7.4 | 7.65 | 630 | 820 | 38 | 56 | 22 | 30 | 82000 | 120000 | 120000 | 170000 |  |  | 400 | 500 | 0.5 | 0.7
4284 | 10102 | RIVER HINDON AT MOHAN NAGAR U/S | RIVER | HINDON | UTTAR PRADESH | 18 | 27 | 1.2 | 4.5 | 6.5 | 7.5 | 330 | 530 | 15 | 20 | 0.4 | 0.46 | 130000 | 260000 | 170000 | 790000 |  |  | 217 | 364 | 0.38 | 0.5
4285 | 10103 | RIVER HINDON AT MOHAN NAGAR D/S | RIVER | HINDON | UTTAR PRADESH | 18 | 28 | 2.1 | 6.5 | 6.83 | 7.6 | 330 | 746 | 10 | 20 | 0.35 | 0.48 | 110000 | 340000 | 140000 | 470000 |  |  | 224 | 448 | 1 | 1.2
4286 | 10104 | RIVER HINDON AT NOIDA U/S | RIVER | HINDON | UTTAR PRADESH |  |  | 1.4 | 4.1 | 6.94 | 8.23 | 755 | 861 | 15 | 22 | 0.36 | 0.62 | 230000 | 3400000 | 310000 | 4000000 |  |  | 367 | 541
4287 | 10105 | RIVER HINDON AT NOIDA D/S | RIVER | HINDON | UTTAR PRADESH | 26 | 26 | 1.1 | 4.8 | 7.02 | 7.89 | 450 | 1082 | 12 | 27 | 0.3 | 0.42 | 170000 | 2700000 | 270000 | 3800000 |  |  | 238 | 800 | 0.5 | 0.5
4288 | 10106 | RIVER HINDON AT GHAZIABAD U/S | RIVER | HINDON | UTTAR PRADESH | 18 | 28 | 1.1 | 5.5 | 6.17 | 7.6 | 316 | 589 | 12 | 24 | 0.41 | 0.55 | 170000 | 350000 | 210000 | 920000 |  |  | 196 | 376 | 0.45 | 0.54
4289 | 1477 | RIVER KALINADI AT U/S OF MUZAFFAR NAGAR U.P. | RIVER | KALI (W) | UTTAR PRADESH | 19 | 25.5 | 2.9 | 3.4 | 7.2 | 7.7 | 300 | 340 | 12 | 16 | [8 empty] | 210 | 240
4290 | 1478 | RIVER KALINADI AT D/S OF MUZAFFAR NAGAR, U.P. | RIVER | KALI (W) | UTTAR PRADESH | 19 | 25.8 | 0.3 | 0.3 | 7 | 7.3 | 480 | 670 | 32 | 40 | [8 empty] | 448 | 488
4291 | 1065 | RIVER KALINADI NEAR GUMATIYA VILLAGE ,KANNAUJ (BEFORE CONF.), U.P | RIVER | KALINADI (E) | UTTAR PRADESH | 14 | 30 | 5.4 | 8.7 | 7.44 | 8.19 | 240 | 496 | 5 | 6.4 |  |  | 4600 | 9800 | 8900 | 17000 | 1.8 | 1.8 | 139 | 354
4292 | 1480 | RIVER KALINADI AT U/S OF GULAOTHI TOWN IN BULANDSAHAR, U.P. | RIVER | KALINADI (E) | UTTAR PRADESH | 19 | 31 | 0.3 | 0.3 | 7.64 | 7.86 | 403 | 558 | 46 | 62 |  |  | 2200000 | 4100000 | 3200000 | 5800000 |  |  | 272 | 392
4293 | 2497 | RIVER KALI EAST AT KHARKHODA-PARIKSHIT GARH ROAD, VILL. KOL, MEERUT | RIVER | KALINADI (E) | UTTAR PRADESH | 14 | 21 | 0.3 | 0.3 | 7.48 | 7.7 | 480 | 940 | 32 | 56 | 22 | 32 | 63000 | 130000 | 94000 | 170000 |  |  | 320 | 660 | 0.5 | 0.7
4294 | 30000 | RIVER PILKHAR AT RAMPUR, BHOT(U.P) | RIVER | PILKHAR | UTTAR PRADESH | 21 | 31.6 | 6.5 | 8.3 | 7.5 | 7.97 | 121 | 745 | 1 | 2.4 | 0.3 | 0.96 | 4500 | 130000 | 7800 | 490000 |  |  | 395 | 406 | 0.2 | 0.2
4295 | 1064 | RIVER RAMGANGA AT KANNAUJ (BEFORE CONF.), U.P | RIVER | RAMGANGA | UTTAR PRADESH | 14 | 30 | 5.9 | 11.2 | 8 | 8.5 | 256 | 589 | 3.8 | 5.6 |  |  | 4300 | 6300 | 7500 | 13000 | 1.8 | 1.8 | 168 | 383
4296 | 30077 | RIVER RAMGANGA AT ROAD BRIDGE SHERKOT, DIST.BIJNAUR (U.P.) | RIVER | RAMGANGA | UTTAR PRADESH | 22 | 30.2 | 6.5 | 9.1 | 7.24 | 7.9 | 221 | 730 | 1 | 3.4 | 0.3 | 0.3 | 1.8 | 49000 | 1.8 | 330000 | 1.8 | 1.8 | 165 | 415 | 0.2 | 0.2
4297 | 1363 | RIVER RAPTI AFTER CONFL. OF R. HONIN NR. DOMINGARH RLY BRIDGE, GORAKHPUR, U.P. | RIVER | RAPTI | UTTAR PRADESH | 16 | 24 | 7.8 | 8.4 | 7.9 | 8.2 | 270 | 2920 | 2.6 | 8.4 |  |  | 8000 | 16000 | 18000 | 30000 |  |  | 190 | 218
4298 | 2491 | RIVER RAPTI AT RAJGHAT, GORAKHPUR | RIVER | RAPTI | UTTAR PRADESH | 16 | 26 | 7.4 | 8 | 7.68 | 7.98 | 360 | 3960 | 4.2 | 7.7 |  |  | 12000 | 28000 | 28000 | 44000 |  |  | 260 | 288
4299 | 1359 | RIVER RIHAND AT RENUKUT U/S, U.P. | RIVER | RIHAND | UTTAR PRADESH | 22 | 28.5 | 8.5 | 9.8 | 7.92 | 8.32 | 232 | 292 | 1.8 | 2.5 | 0.52 | 0.86 | 210 | 460 | 460 | 700 | 170 | 310 | 132 | 175
4300 | 1360 | RIVER RIHAND AT RENUKUT D/S, U.P. | RIVER | RIHAND | UTTAR PRADESH | 22 | 28.5 | 7.8 | 9 | 7.82 | 8.41 | 248 | 310 | 2.8 | 3.7 | 0.64 | 1.22 | 1300 | 2700 | 2300 | 3900 | 580 | 1100 | 140 | 186
4301 | 1361 | RIVER SAI AT UNNAO AFTER DRAIN OUTFALL, U.P. | RIVER | SAI | UTTAR PRADESH | 18 | 32 | 3.5 | 8 | 7.72 | 8.24 | 324 | 531 | 3 | 4.3 | 0.3 | 1.38 | 2300 | 4900 | 4700 | 7900 |  |  | 206 | 338 | 0.21 | 0.8 | 0.00049 | 0.00049
4302 | 2484 | RIVER SAI AT JALALPUR, JAUNPUR | RIVER | SAI | UTTAR PRADESH | 24 | 29.5 | 7.3 | 8.6 | 8.13 | 8.38 | 316 | 446 | 2.4 | 3.4 | 0.55 | 0.92 | 2100 | 5800 | 4600 | 8400 | 1300 | 3100 | 192 | 270 |  |  | 0.00049 | 0.00049
4303 | 30081 | RIVER SONE AT ROAD BRIDGE CHOPAN,DIST-SONEBHADRA (U.P.) | RIVER | SONE | UTTAR PRADESH | 21 | 27.2 | 7 | 10.7 | 7.3 | 8.3 | 200 | 358 | 1 | 1 | 0.3 | 0.3 | 1.8 | 17000 | 1.8 | 33000 | 1.8 | 1.8 | 110 | 213 | 0.2 | 0.2
4304 | 2482 | RIVER VARUNA AT RAMESHWAR, VARANASI | RIVER | VARUNA | UTTAR PRADESH | 23.5 | 29 | 7.1 | 8.2 | 7.95 | 8.41 | 312 | 480 | 2.8 | 3.8 | 0.6 | 0.96 | 1100 | 2300 | 1700 | 3300 | 380 | 840 | 190 | 290 |  |  | 0.0009 | 0.0009
4305 | 2483 | RIVER VARUNA B/C WITH GANGA AT VARANASI | RIVER | VARUNA | UTTAR PRADESH | 23.5 | 29.5 | 3 | 4.8 | 7.24 | 7.61 | 524 | 664 | 8.6 | 12.8 | 1.72 | 260 | 17000 | 22000 | 27000 | 33000 | 7900 | 17000 | 322 | 398 |  |  | 0.00049 | 0.00049
4306 | 1069 | RIVER YAMUNA AT PRAYAGRAJ D/S (BALUA GHAT), U.P. | RIVER | YAMUNA | UTTAR PRADESH | 20.7 | 30.7 | 6.8 | 8.4 | 7.71 | 8.33 | 318 | 397 | 2.5 | 2.7 | 0.55 | 0.68 | 400 | 680 | 1400 | 1700 |  |  | 235 | 285 | 0.21 | 0.27 | 0.00049 | 0.00049
4307 | 1123 | RIVER YAMUNA AT MATHURA U/S ,NEAR GAUGHAT U.P. | RIVER | YAMUNA | UTTAR PRADESH | 11 | 28 | 4.6 | 6.6 | 7.6 | 8.2 | 543 | 628 | 7.8 | 12.2 |  |  | 12000 | 33000 | 39000 | 94000 |  |  | 302 | 724
4308 | 1124 | RIVER YAMUNA AT MATHURA D/S , NEAR SHAMSHAN GHAT U.P. | RIVER | YAMUNA | UTTAR PRADESH | 11 | 28 | 4 | 6.4 | 7.8 | 8.2 | 618 | 668 | 8.8 | 14 |  |  | 572 | 38000 | 640 | 150000 |  |  | 316 | 756
4309 | 1125 | RIVER YAMUNA AT AGRA U/S, U.P.(KAILASH GHAT) | RIVER | YAMUNA | UTTAR PRADESH | 24 | 28 | 7 | 8 | 7.5 | 7.8 | 406 | 1800 | 6.4 | 14.4 |  |  | 4000 | 7000 | 7800 | 11000 |  |  | 312 | 688
4310 | 1126 | RIVER YAMUNA AT D/S OF AGRA, U.P. | RIVER | YAMUNA | UTTAR PRADESH | 24 | 28 | 6.6 | 7 | 6.7 | 7.5 | 512 | 2045 | 7.2 | 15.6 |  |  | 6800 | 17000 | 11000 | 33000 |  |  | 362 | 885
4311 | 1127 | RIVER YAMUNA AT ETAWAH, U.P. | RIVER | YAMUNA | UTTAR PRADESH | 17.2 | 36.6 | 5.2 | 5.9 | 7.5 | 8 | 460 | 2722 | 7.6 | 18 |  |  | 5800 | 43000 | 17000 | 94000 |  |  | 230 | 1449
4312 | 1498 | RIVER YAMUNA AT BATESWAR, U.P | RIVER | YAMUNA | UTTAR PRADESH | 23 | 28 | 6 | 7.2 | 7.4 | 7.8 | 1022 | 2512 | 8 | 9.6 |  |  | 6800 | 17000 | 9300 | 25000 |  |  | 568 | 1018
4313 | 1499 | RIVER YAMUNA AT JUHIKA B/C WITH CHANBAL, ETAWAH, U.P | RIVER | YAMUNA | UTTAR PRADESH | 18.6 | 37.9 | 6.2 | 7.4 | 7.6 | 7.8 | 407 | 2532 | 6.4 | 16 |  |  | 4100 | 27000 | 13000 | 70000 |  |  | 214 | 1331
4314 | 2283 | RIVER YAMUNA AT HAMIRPUR | RIVER | YAMUNA | UTTAR PRADESH | 17 | 28 | 4.9 | 7.1 | 7.4 | 7.8 | 659 | 848 | 2.6 | 5.2 |  |  | 9300 | 23000 | 17000 | 79000 |  |  | 414 | 583
4315 | 2493 | RIVER YAMUNA AT SHAHPUR | RIVER | YAMUNA | UTTAR PRADESH | 12 | 28 | 4.2 | 7.2 | 7.6 | 8.1 | 692 | 734 | 9.2 | 15.6 |  |  | 23000 | 49000 | 58000 | 110000 |  |  | 284 | 966
4316 | 2494 | RIVER YAMUNA AT VISHRAMGHAT, MATHURA | RIVER | YAMUNA | UTTAR PRADESH | 11 | 28 | 4.2 | 6.8 | 7.6 | 8.2 | 572 | 652 | 8 | 13.2 |  |  | 14000 | 33000 | 41000 | 120000 |  |  | 244 | 782
4317 | 2495 | RIVER YAMUNA AT KESIGHAT, VRINDAVAN | RIVER | YAMUNA | UTTAR PRADESH | 11 | 28 | 4 | 7.4 | 7.6 | 8.2 | 614 | 642 | 7.6 | 11.6 |  |  | 22000 | 33000 | 49000 | 94000 |  |  | 316 | 876
4318 | 10081 | RIVER YAMUNA AT ETAWAH D/S | RIVER | YAMUNA | UTTAR PRADESH | 16.8 | 36.8 | 5.1 | 7.1 | 7.5 | 7.9 | 487 | 2322 | 8.4 | 22 |  |  | 7000 | 46000 | 21000 | 160000 |  |  | 252 | 1280
4319 | 10082 | RIVER YAMUNA AT UDI | RIVER | YAMUNA | UTTAR PRADESH | 17.1 | 36.4 | 4.9 | 6.1 | 7.5 | 7.8 | 434 | 2418 | 7.2 | 18.8 |  |  | 4900 | 40000 | 14000 | 94000 |  |  | 227 | 1202
4320 | 30030 | RIVER YAMUNA AT ASGARPUR VILLAGE,(yamuna ghat)U.P | RIVER | YAMUNA | UTTAR PRADESH |  |  | 0.3 | 5.4 | 7.4 | 7.7 | 517 | 1878 | 14 | 94 | 0.3 | 2.6 | 7800 | 14000000 | 23000 | 21000000 | 680 | 2400000 | 330 | 984 | 0.2 | 0.5 | 0.00049 | 0.00049
4321 | 30033 | RIVER YAMUNA A/C OF CHAMBAL AT SHERGARH, JUHIKA (U.P) | RIVER | YAMUNA | UTTAR PRADESH | 18 | 31 | 7.1 | 9 | 7.25 | 8.85 | 447 | 1091 | 2.1 | 8.1 | 0.3 | 5.49 | 1.8 | 33000 | 1.8 | 490000 | 1.8 | 1.8 | 584 | 659 | 0.2 | 0.2
4322 | 30034 | RIVER YAMUNA AT ETAWAH | RIVER | YAMUNA | UTTAR PRADESH | 18 | 32 | 6.2 | 9.3 | 7.2 | 8.8 | 602 | 1633 | 3.9 | 15.7 | 3.03 | 20.6 | 1.8 | 79000 | 4500 | 240000 |  |  | 854 | 937 | 0.2 | 0.57
4323 | 3050 | WATER WORKS- GHAZIABAD | WATER TREATMENT PLANT (RAW WATER) | WATER TREATMENT PLANT (RAW WATER) | UTTAR PRADESH | 18 | 26 | 0.3 | 11 | 7.12 | 7.5 | 160 | 201 | 1 | 1 | 0.3 | 0.3 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 1.8 | 94 | 144 | 0.2 | 0.2